POLICY STATEMENT Introduction

Ystradowen Village Hall Committee (the Committee) has drawn up this policy to set out procedures and areas of responsibility to ensure in so far as it can the health and safety of users of the Village Hall.

The Committee is responsible for running the Village Hall and recognises its duty to ensure the safety of people using it.

GENERAL GUIDELINES TO BE ADHERED TO

These guidelines are provided to assist users in fulfilling their Health & Safety responsibilities. Premises:

• The entrance must be clear of obstacles and hazards at all times that people are entering or leaving the building.

• Wet floors must be made safe by the application of an absorbent, non- slip surface until such time as the floor can be thoroughly dried; or warning signs are displayed to warn of wet floors.

• The premises should be adequately heated, such heating to be used in accordance with manufacturers’ instructions and to be adequately maintained and regularly serviced. Radiators and pipes should not be

allowed to become excessively hot and heating controls should be regularly checked and adjusted accordingly.

• Water should not be heated above 45 degrees C except when making drinks in the kitchen.

• Any floor coverings should lie flat and edges of rugs/carpets should not be allowed to curl up.

• Spills must be cleared up quickly to prevent slipping.

• Any concerns regarding any electrical installation, plug, lead etc must be notified to YCSA committee member immediately.

• Any electrical equipment where there are signs of damage, exposure of components or water penetration etc. must not be touched or operated.

• Electrical leads must not be allowed to trail across floors or from areas

where they might be pulled or become caught up.

• All hirers must make themselves aware of the procedure to follow in

the event of fire, this procedure is displayed in the basket adjacent to the main entrance to the Hall building.

• All hirers should be aware of the position of Fire Exits and must ensure that these are kept clear at all times.

• As good practice hirers should have a procedure to account for the number of persons present during their hire.

• If the oven/cooker is in use it should not be left unattended, even for a short time.

• Children should only be in the kitchen when under the direct supervision of an adult and not at any other time.

• All cleaning solutions etc. must be kept out of the reach of children.

• Due care should be exercised in the car park area.

• All equipment should be adequately maintained to ensure that there are no sharp edges, loose screws, splinters etc. and that it is fit for purpose.

• Any freestanding equipment should be sturdy or adequately secured to prevent it from being moved or toppled.

• All persons should exercise care in storage areas, both while removing and replacing items. Each person is responsible for ensuring that any item they stack or replace on a shelf cannot fall or be knocked and so cause injury.

• Care should be exercised when pulling the loaded table trolley where possible two adults should assist with this. When replacing tables onto the trolley take care to avoid the potential for injury to hands/fingers.

Monitoring of Health and Safety

It is the duty of all hirers, users and visitors to take care of themselves and others who may be affected by their activities and to co-operate with

the YCSA Committee in keeping the premises, including the grounds, safe and fit for purpose.

Should anyone using the Hall identify a fault, damage or other situation which might cause injury and which cannot be rectified they should inform the YCSA Booking officers as soon as possible so the problem can be dealt with. Where Village Hall equipment is damaged that damage should be reported to the Booking officers (see below) The

Booking Officers should inform the Committee, who must ensure that the damage or fault quarantined pending rectification and that the fault is subsequently rectified.

Mitigation of Risk

To mitigate risk the Committee takes the following steps:

• To discuss and report on Health and Safety at every meeting of the

Committee

• To carry out a full Risk Assessment every year or sooner if deemed necessary by the Committee

• Ensure that there is a copy of the current Health and Safety Policy published on the Village Hall website.

•		It is the responsibility of each Hall user to provide their own Method statement and Risk Assessment that is specific to their own intended use of the Hall. A copy of these documents must be provided to the

YCSA Hall Booking Officers.

Preventative and protective measures must be taken in accordance with the Health and Safety Policy as follows:

• Smoking and vaping is forbidden inside the Hall and in the hall grounds

• Storage of combustible material near a source of ignition is not permitted

• Emergency exits and routes to them must be kept clear/unlocked at all times

• Appropriate Fire Fighting Equipment to be provided

• Fire Equipment to be maintained and checked annually

Children

Minors under the age of 18 must be accompanied and supervised by a responsible adult at all times.

Electrical safety

The following must be adhered to:

• All electric appliances to be PAT tested annually

-Electrical appliances must not be left unsupervised when in operation

• Plug sockets must not be overloaded

• Should users/hirers want to bring electrical appliances onto the premises they must make the Booking Officers aware of this in advance. The users/ hirers are responsible for ensuring that the appliances meet safety standards.

• Electrical equipment showing signs of damage, exposure of components, water damage etc must not be used.

• Users have a responsibility to ensure that all electrical appliances are turned off and where possible unplugged when leaving the Hall

• Trailing wires or cables are a trip hazard and should be taped down with appropriate high visibility “hazard” tape.

Heating

Both the Main Hall and Annex have central heating, powered by electric heat pumps. Should users suspect any malfunction then the heating system should not be used and the Booking officers should be informed immediately.

Main Hall and Annex– Heating temperature is managed remotely and will be set to coincide with bookings.

Housekeeping

The Hall is cleaned and safety checked on a regular basis. However,  users have a responsibility to ensure that the Hall is left clean and tidy

All users must take their rubbish home. Any major spillage, damage or accident should be reported to the Booking Officers/Cleaner. Food, drink, bottles and perishable items must be taken away at the end of each hire.

The grounds outside and frontage of the Hall must be kept clear of litter.

Noise

As the Hall is situated in a residential area, users should be considerate and keep noise levels to a minimum. Playing any form of music, whether live or recorded, must be kept to an acceptable level and must cease at

12.00pm unless otherwise authorised by the Committee. Users should also be considerate when leaving the Hall.

Parking

Parking in the grounds of the Hall at the users’ risk. Do not obstruct or use the White Lion car park.

Fire Evacuation Procedures

IN CASE OF FIRE

The hirer is deemed the “Responsible Person” and is designated the person in charge of the Hall during the period of hire.

The Responsible Person is required to record the name of each person attending the event (see step 1. Roll Call).

1.The Hall is equipped with fire / smoke alarms. In the event of a Fire or fire alarm sounding, the Responsible Person shall instruct all persons to leave the building using the nearest available Emergency Exit and to muster together as soon as possible at the front of the Village Hall. A Roll Call shall be taken.

2. No matter how small the fire, THE FIRE BRIGADE MUST BE

CALLED ON 999 giving the address: Ystradowen Village Hall Cowbridge

Road Ystradowen CF71 7SY. (To the rear of the White Lion pub)

3. The Responsible Person shall ensure that once the Hall is vacated, members of the public do not re-enter the building under any circumstances.

4. On the arrival of the Fire Brigade, the Responsible Person shall inform the Officer in Charge that a Roll Call has been taken and all persons are safe/there are missing persons.

5. Attempts to extinguish the outbreak of the fire with the firefighting equipment within the Hall should only be attempted if it is considered safe to do so.

6. As soon as the foregoing steps have been carried out the Responsible Person shall inform the Booking Officers. The Booking officer shall directly inform the Committee.

Accident Reporting Procedure

The following must be reported to the Booking Officers and an Accident

Report Form (kept in the corridor in the Main Hall) must be duly completed:

• A death or injury

• A dangerous occurrence

• Any injury that results in a member of the public having to be taken to hospital.

In the event of an emergency, the nearest hospitals are: Royal Glamorgan Hospital

Ynysmaerdy, Pontyclun CF72 8XR

Princess of Wales Hospital

Coity Rd, Bridgend CF31 1RQ

A copy of the Certificate of Insurance is displayed on the Notice Board inside the Main Hall.

All reporting to be made either through

email to ycsabooking@gmail.com or to the Booking Officers on 07494

555125

YCSA Committee October 2025 to be reviewed annually.

Reviewed October 2025 -included wording  for PAT testing to be done annually

Appendix A

Risk assessment

•	Car Park – The car park is adequately lit, covered by CCTV surveillance cameras and the surface kept as even as possible to limit the risk of trips and falls.  	Low Risk.

•	Entrance and Corridors - Entrances are adequately lit and surface slip resistant. Corridors have large mats to collect water in wet weather to prevent slipping.	Low risk.

•	Toilets Ladies and Gents  - All toilets are monitored regularly for water leakage. Water temperature is monitored. Medium risk.

•	Kitchen and tea point   All electrical appliances are of standard domestic design and therefore are of low risk when used sensibly and only by adults. The cooker in the Main Hall is switched off at the power source when not in use. The Tea Urn is monitored regularly. Low/Medium risk

•	Furniture  To limit the risk of accidents from chairs they should only be stacked 8 high and not be over stacked. Table trolleys should be stored appropriately and should only be moved by 2 people. Low/Medium Risk

•	Electrical Appliances and fixed electrical installations  Only qualified electricians undertake work in the hall and all Appliances and Installations are inspected on a regular basis. Users are made aware that they are responsible for all equipment used on site and for reporting any dangerous or potentially dangerous occurrences to the Booking officers. Medium risk

•	Christmas Tree The Christmas tree is in situ for 3 weeks of the year and is monitored regularly by the cleaner and Booking officers to ensure its stability and the safety of the lights. Low risk

•	Heat Pumps. Must be Serviced annually by a Qualified and Registered engineer

- Solar panels and batteries – The hall is equipped with solar panels (on the roof) and storage batteries (in the cupboard in the Meeting Room within the main hall

- Maintenance and checking of all equipment – All equipment must be maintained as set out on the Maintenance Schedule, which is attached at Appendix A and displayed on the Main Hall notice board. Low Risk.

This Risk Assessment to be reviewed annually by the Village Hall

Committee for that year. September 2025